## Sheet1
Názov | kat.číslo | počet/m
EMERG. STOP SWITCH 3-POLE IU32, P/AC-23A AT 400V11.5KW 1 N-TERMINAL + 1 PE-TERMINAL INSULATION-ENCLO... | 3LD2264-0TB53 | 50
AUXIL. SWITCH 1NO+1NC (ACCESSORY FOR SWITCH 3LD2) -NEW DESIGN - FOR FLOOR MOUNTING FOR INSTALLATION ... | 3LD9200-5C | 50
STEADY-LIGHT ELEMENTS, GREEN AC/DC 24V...230V | 8WD42 00-1AC | 2
STEADY-LIGHT ELEMENTS, YELLOW AC/DC 24V...230V | 8WD42 00-1AD | 2
STEADY-LIGHT ELEMENTS, RED AC/DC 24V...230V | 8WD42 00-1AB | 2
CONNECTION ELEMENT WITH COVER FOR MOUNTING ON PIPES, FLOOR AND BRACKETS | 8WD42 08-0AA | 2
BRACKET FOR WALL MOUNTING, FOR SINGLE-SIDED MOUNTING, ACCESS.FOR 8WD42, SIGN.COLUMNS, DIAMETER 50MM,... | 8WD42 08-0CD | 2
SIGNALLING COLUMNS, ACCESSORIES LED AC/DC 24V, BA 15D, RED | 8WD4428-6XB | 2
SIGNALLING COLUMNS, ACCESSORIES LED AC/DC 24V, BA 15D, GREEN | 8WD4428-6XC | 2
SIGNALLING COLUMNS, ACCESSORIES LED AC/DC 24V, BA 15D, YELLOW | 8WD4428-6XD | 2
BUZZER ELEMENT 24V AC/DC (PULSAT./CONTIN. TONE ADJUST.) | 8WD4220-0FA | 1